## Result sheet
Method name: EK_single_AB_constant_gain
Application: SparkControl |  |  |  | V3.1
Device: Spark |  |  |  | Serial number: 2102015905
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_BOTTOM:V5.0.2¦GCM:V3.0.2¦STACKER:V1.0.3¦PODI:V1.11.2
Date: |  |  |  | 2024-01-31
Time: |  |  |  | 2:31 PM
System |  |  |  | LRI-107726
User |  |  |  | CC\KINGE2
Plate |  |  |  | [COR96fc UV transparent] - Corning 96 Flat Transparent Cat. No.: 3635
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
| Fluorescence Top Reading |  |  |  |  | AlamarBlue
Name |  |  |  | COR96fc UV transparent
Plate layout
Plate area |  |  |  | A1-H12
Start Time |  |  |  | 2024-01-31 14:29:49
Temperature control |  |  |  | Off
End Time |  |  |  | 2024-01-31 14:29:49
Start Time |  |  |  | 2024-01-31 14:29:49
Shaking (Orbital) Duration [s] |  |  |  | 10
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude [mm] |  |  |  | 1
Shaking (Orbital) Frequency [rpm] |  |  |  | 510
End Time |  |  |  | 2024-01-31 14:29:59
Mode | Fluorescence Top Reading
Name | AlamarBlue
Excitation |  |  |  | Filter
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 20
Emission |  |  |  | Filter
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 40
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2024-01-31 14:29:59
Temperature [°C] |  |  |  | 27
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 29 | 29 | 30 | 30 | 31 | 31 | 30 | 29 | 28 | 27 | 28 | 29
B | 30 | 4165 | 2782 | 1805 | 1104 | 729 | 520 | 376 | 300 | 269 | 232 | 30
C | 29 | 4231 | 2760 | 1751 | 1038 | 677 | 506 | 372 | 260 | 272 | 230 | 29
D | 27 | 4100 | 2785 | 1709 | 1108 | 670 | 511 | 383 | 305 | 269 | 236 | 27
E | 28 | 4008 | 2728 | 1714 | 1066 | 683 | 474 | 359 | 296 | 261 | 235 | 26
F | 29 | 3887 | 2651 | 1705 | 1005 | 696 | 494 | 357 | 288 | 277 | 242 | 28
G | 29 | 3948 | 2669 | 1794 | 1000 | 722 | 506 | 372 | 312 | 266 | 243 | 27
H | 30 | 29 | 30 | 30 | 30 | 30 | 30 | 29 | 28 | 27 | 27 | 29
End Time |  |  |  | 2024-01-31 14:31:09