## Result sheet
Method name: Scott_Lab_96W_CC_Fluo
Application: SparkControl |  |  |  | V3.1
Device: Spark |  |  |  | Serial number: 2102015905
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_BOTTOM:V5.0.2¦GCM:V3.0.2¦STACKER:V1.0.3¦PODI:V1.11.2
Date: |  |  |  | 2026-05-20
Time: |  |  |  | 4:47 PM
System |  |  |  | LRI-107915
User |  |  |  | CC\CREARYJ3
Plate |  |  |  | [GRE96ft] - Greiner 96 Flat Transparent Cat. No.: 655101/655161/655192
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Shaking
| Fluorescence Top Reading |  |  |  |  | Calibration Curve
Name |  |  |  | GRE96ft
Plate layout
Plate area |  |  |  | A1-H12
Start Time |  |  |  | 2026-05-20 16:46:25
Shaking (Orbital) Duration [s] |  |  |  | 10
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude [mm] |  |  |  | 1
Shaking (Orbital) Frequency [rpm] |  |  |  | 510
End Time |  |  |  | 2026-05-20 16:46:35
Mode | Fluorescence Top Reading
Name | Calibration Curve
Excitation |  |  |  | Filter
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 20
Emission |  |  |  | Filter
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 40
Mirror |  |  |  | 50% Mirror
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2026-05-20 16:46:35
Temperature [°C] |  |  |  | 27.4
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 23 | 22 | 23 | 22 | 22 | 22 | 22 | 22 | 23 | 23 | 23 | 23
B | 22 | 23 | 23 | 23 | 24 | 23 | 23 | 24 | 23 | 23 | 23 | 22
C | 22 | 748 | 578 | 441 | 370 | 325 | 302 | 266 | 262 | 189 | 252 | 22
D | 22 | 813 | 591 | 396 | 321 | 330 | 302 | 271 | 263 | 246 | 252 | 21
E | 22 | 754 | 633 | 458 | 364 | 329 | 300 | 255 | 273 | 316 | 251 | 23
F | 22 | 829 | 563 | 464 | 377 | 338 | 307 | 273 | 263 | 243 | 244 | 21
G | 22 | 811 | 535 | 465 | 321 | 337 | 252 | 223 | 213 | 196 | 224 | 22
H | 22 | 22 | 22 | 22 | 22 | 21 | 22 | 22 | 22 | 22 | 22 | 22
End Time |  |  |  | 2026-05-20 16:47:44