## Result sheet
Method name: Scott_Lab_96W_CC_Fluo
Application: SparkControl |  |  |  | V3.1
Device: Spark |  |  |  | Serial number: 2102015905
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_BOTTOM:V5.0.2¦GCM:V3.0.2¦STACKER:V1.0.3¦PODI:V1.11.2
Date: |  |  |  | 2026-05-26
Time: |  |  |  | 1:18 PM
System |  |  |  | LRI-107915
User |  |  |  | CC\CREARYJ3
Plate |  |  |  | [GRE96ft] - Greiner 96 Flat Transparent Cat. No.: 655101/655161/655192
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Shaking
| Fluorescence Top Reading |  |  |  |  | Calibration Curve
Name |  |  |  | GRE96ft
Plate layout
Plate area |  |  |  | A1-H12
Start Time |  |  |  | 2026-05-26 13:16:42
Shaking (Orbital) Duration [s] |  |  |  | 10
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude [mm] |  |  |  | 1
Shaking (Orbital) Frequency [rpm] |  |  |  | 510
End Time |  |  |  | 2026-05-26 13:16:52
Mode | Fluorescence Top Reading
Name | Calibration Curve
Excitation |  |  |  | Filter
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 20
Emission |  |  |  | Filter
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 40
Mirror |  |  |  | 50% Mirror
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2026-05-26 13:16:52
Temperature [°C] |  |  |  | 26.7
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 23 | 23
B | 21 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 23 | 23 | 22
C | 22 | 5058 | 7502 | 7324 | 7209 | 5263 | 3342 | 1849 | 1326 | 875 | 330 | 22
D | 22 | 5287 | 6319 | 6979 | 6678 | 4994 | 3017 | 1945 | 1265 | 825 | 332 | 21
E | 22 | 5526 | 6258 | 6798 | 7721 | 4884 | 3273 | 1776 | 1321 | 862 | 338 | 22
F | 22 | 5893 | 6666 | 7382 | 6613 | 5128 | 3242 | 1913 | 1344 | 868 | 341 | 21
G | 22 | 6023 | 5829 | 7013 | 6922 | 4948 | 3499 | 1975 | 1292 | 881 | 336 | 22
H | 22 | 23 | 22 | 22 | 23 | 22 | 22 | 22 | 22 | 22 | 22 | 22
End Time |  |  |  | 2026-05-26 13:18:01