## Result sheet
Method name: EK_single_AB_constant_gain
Application: SparkControl |  |  |  | V3.1
Device: Spark |  |  |  | Serial number: 2102015905
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_BOTTOM:V5.0.2¦GCM:V3.0.2¦STACKER:V1.0.3¦PODI:V1.11.2
Date: |  |  |  | 2024-02-06
Time: |  |  |  | 2:40 PM
System |  |  |  | LRI-107726
User |  |  |  | CC\KINGE2
Plate |  |  |  | [COR96fc UV transparent] - Corning 96 Flat Transparent Cat. No.: 3635
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
| Fluorescence Top Reading |  |  |  |  | AlamarBlue
Name |  |  |  | COR96fc UV transparent
Plate layout
Plate area |  |  |  | A1-H12
Start Time |  |  |  | 2024-02-06 14:38:41
Temperature control |  |  |  | Off
End Time |  |  |  | 2024-02-06 14:38:42
Start Time |  |  |  | 2024-02-06 14:38:42
Shaking (Orbital) Duration [s] |  |  |  | 10
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude [mm] |  |  |  | 1
Shaking (Orbital) Frequency [rpm] |  |  |  | 510
End Time |  |  |  | 2024-02-06 14:38:52
Mode | Fluorescence Top Reading
Name | AlamarBlue
Excitation |  |  |  | Filter
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 20
Emission |  |  |  | Filter
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 40
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2024-02-06 14:38:52
Temperature [°C] |  |  |  | 27.5
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 28 | 27 | 28 | 28 | 27 | 27 | 27 | 26 | 26 | 24 | 25 | 26
B | 25 | 24 | 24 | 24 | 24 | 23 | 24 | 23 | 24 | 24 | 23 | 26
C | 28 | 2492 | 2572 | 1763 | 1027 | 933 | 653 | 456 | 349 | 292 | 228 | 26
D | 27 | 2428 | 2666 | 2005 | 1492 | 936 | 630 | 445 | 340 | 280 | 233 | 25
E | 27 | 2595 | 2680 | 1796 | 1374 | 964 | 642 | 447 | 341 | 289 | 232 | 26
F | 28 | 2730 | 2875 | 2237 | 1566 | 1041 | 703 | 488 | 364 | 292 | 236 | 26
G | 27 | 2792 | 2728 | 2052 | 1465 | 999 | 655 | 467 | 351 | 296 | 232 | 26
H | 28 | 28 | 29 | 28 | 28 | 28 | 30 | 29 | 27 | 26 | 26 | 28
End Time |  |  |  | 2024-02-06 14:40:02